## Slide 1
Campus Microgrid EMS using
Load Estimation Model

## Slide 2
미래관 부하 예측 모델

## Slide 3
미래관 부하 실측치 [3시간 간격]
24Hr / 1Hour Average
kW

## Slide 4
미래관 부하 예측 모델 결과 [3시간 간격]
24Hr / 1Hour Sample
kW

## Slide 5
EMS Simulation Result
 | 0.1
 | 1.0
ESS SOC Boundary | [20%, 80%]
ESS Charge/Discharge Rate | [-150kW, +150kW]
ESS Capacity | 549kWh
Round Trip Efficiency | 80%
Profile Date | 2022. 7. 10 ~ 2022. 7. 13
Peak Power (낮을수록 좋음) | 125kW
 | 0.1
 | 1.0
ESS SOC Boundary | [20%, 80%]
ESS Charge/Discharge Rate | [-150kW, +150kW]
ESS Capacity | 549kWh
Round Trip Efficiency | 80%
Profile Date | 2022. 7. 10 ~ 2022. 7. 13
Peak Power (낮을수록 좋음) | 125kW
 | 0.1
 | 1.0
ESS SOC Boundary | [20%, 80%]
ESS Charge/Discharge Rate | [-150kW, +150kW]
ESS Capacity | 549kWh
Round Trip Efficiency | 80%
Profile Date | 2022. 7. 10 ~ 2022. 7. 13
Peak Power (낮을수록 좋음) | 400kW
 | 0.1
 | 1.0
ESS SOC Boundary | [20%, 80%]
ESS Charge/Discharge Rate | [-150kW, +150kW]
ESS Capacity | 549kWh
Round Trip Efficiency | 80%
Profile Date | 2022. 7. 10 ~ 2022. 7. 13
Peak Power (낮을수록 좋음) | 400kW
미래관 부하 실측치 기반
미래관 부하 예측 모델 기반

## Slide 6
미래관 부하 실측치 적용 Simulation

## Slide 7
미래관 부하 예측 모델 적용 Simulation